## Slide 1: Low-Carbon Action Plan 2019-2024

## Slide 2: Our Commitment
The University of Toronto has set a goal to achieve a 37% reduction in greenhouse gas emissions by 2030, from a 1990 level baseline.
“Climate change remains one of the world’s greatest challenges, and the University of Toronto community—our brilliant students and alumni, faculty and staff—are working hard to meet that challenge.”
- President Meric Gertler
Notes: Begin with what we are actually talking about

## Slide 3
MISSISSAUGA
SCARBOROUGH
TORONTO
© 2013 Google
Chart: 
| 1st Qtr | 2nd Qtr | 3rd Qtr
Sales | 83 | 9 | 8
UTM
9%
UTSC
8%
St. George
83%
GHG Emissions by Campus
Proportion of U of T’s GHG footprint by Campus

## Slide 4: Where We Are in 2019
*This data represents all purchased utility sources including Toronto Hydro, Hydro One, Enbridge Gas, Enwave and other natural gas suppliers. Purchased utilities and GSM data include all 3 campuses, federated colleges and external entities for scope 1 & 2 emissions.
0.200
0.180
0.160
0.140
0.120
0.100
0.080
0.060
0.040
0.020
0.000
1990
Business as
Usual
2030 Goal
...
116,959
73,684
200,000
180,000
160,000
140,000
120,000
100,000
80,000
60,000
40,000
20,000
0
2000/01
2002/03
2001/02
2003/04
2005/06
2004/05
2006/07
2008/09
2007/08
2009/10
2011/12
2010/11
2012/13
2014/15
2013/14
2015/16
2016/17
2017/18
University of Toronto:
Tri-Campus Total Scope 1 + 2 eCO2 Emissions
eCO2 Tonnes
GHG tonnes / GSM
114,265
Total Scope 1+2 Emissions Anticipated Growth GHG Intensity 2030 Goal 2030 GHG Intensity Goal
Notes: Illustrate history of reductions, where we need to be by 2030, introduce concept of growth

## Slide 5
Clean Energy & Carbon Capture
Efficient Distribution
Reduced Consumption
Our Plan: How we plan to achieve our goal
DISTRIBUTE
CONSUME
PRODUCE
We will optimize how we produce, distribute, and consume electricity and natural gas on our campuses.
Notes: Our framework for reducing scope 1 & 2 emissions on campus

## Slide 6
$50 million in investment, including support from provincial government
Completed 12 projects within 1 year:
  Solar Photovoltaic & Thermal installations
  High performance steam chiller & optimization
  Central Plant: PRV Back pressure turbine, Sofame, cogen VSD compressors
  BAS upgrades
Target GHG Reduction from GGRP=
8,600
Tonnes eCO2/ year
Off to a Good Start
2019 Greenhouse Gas Campus Retrofits Program (GGRP)

## Slide 7
UTM: New Science Building Geoexchange
UTSC: South Campus Phase II Geoexchange
St. George: King’s College Circle Geoexchange
Produce: Clean Energy & Carbon Capture
3 projects on each campus targeted to reduce emissions by over 16,000 tonnes of CO2
Demonstrates U of T’s commitment to carbon reduction and sustainability
King’s College Circle Geoexchange represents over 25% of our total reduction target
Target GHG Reduction =
15,000
Tonnes eCO2/ year
860
Tonnes eCO2/ year
605
Tonnes eCO2/ year
Total Target GHG Reduction from Geoexchange =
16,465
Tonnes eCO2/year
Notes: Efforts underway across all three campuses for an increase in use of ground source heat pumps, benefits

## Slide 8
We will double the solar electricity from photovoltaics on our downtown campus
We will increase the use of solar energy to heat water for pools and showers
Total Target GHG Reduction
from Solar =
200
Tonnes eCO2/ year
Doubling Our
Renewable
Solar Energy
Produce: Clean Energy & Carbon Capture
Notes: Do we want to use the yellow boxes?

## Slide 9: Distribute: Efficient Distribution
St. George: Central Plant Waste Heat Recovery
Increasing the Central Plant's capacity to collect excess heat in the stack for further use
This captured waste heat is considered zero incremental carbon
UTSC: South Campus Phase II Steam to Hot Water Conversion
Converting campus building heating systems from steam to hot water
Benefits: Improved delivery, controls, comfort, and reduced GHG emissions
2,260
Tonnes eCO2/ year
Total Target GHG Reduction from Distribution Improvements =
District Energy System Efficiencies
Notes: St. George and UTSC projects as one slide

## Slide 10: Consume: Reduced Consumption
Current Building GHG Intensity Distribution – St. George
Where we are-
69 kg eCO2/m2/ annual average
We need to be below-
32 kg eCO2/m2/ annual average
St. George campus buildings
70% of our required reduction is from existing building stock
We need to invest in energy reductions at the building and system level
180
160
140
120
100
080
060
040
020
000
kg eCO2/m2
Notes: Something is off with the wording of this slide

## Slide 11: Consume: Reduced Consumption
Target GHG Avoidance from Designing to New Performance Standards =
8,325
Tonnes eCO2/ year
UTM
New Science Building
The UTM Science Building will be one of the most energy-efficient biological and chemical research laboratory buildings in the world— modelled to use 65 per cent less energy than a conventional building.
New building energy performance standard for Fall 2019
The new standard will ensure advanced energy, carbon, wellbeing, and sustainability performance
Enhancing Building Energy Performance Design
Standards
Notes: Profile new UTM Science building instead?

## Slide 12: Consume: Reduced Consumption
Replacing interior and exterior lights with far more efficient LEDs
Savings of about 40 per cent of the electricity costs, which are reinvested in more conservation projects
Wellbeing benefits: Quality lighting is an important influence on high performance work and learning
Target GHG Reduction from Lighting Retrofits =
1,000
Tonnes eCO2/ year

## Slide 13: Pathway to 2030
University of Toronto:
Tri-Campus Planned GHG Reductions (2019-2024)
Where we would be without our plan
Where we project to be with our 2019-2024 plan
Reductions to be completed 2025-2030
Tonnes eCO2
/ year
Business as usual
Building Design Standards
Solar
Geoexchange
Distribution Improvements
Building Optimization
2019 GGRP Projects
Lighting Retrofits
Trees (Urban Properties)
2030 Goal
Notes: Absolute reduction with growth = 114, 265 + 18,000 (good growth) – 73,684
= 58, 581
Progress = 44,567/58,581
=